## Sheet1
X-Ray 217127
| Terminal | Terminal |  | PLC connector
Signal Name | block connector | block pin | PLC slot | Pin | Cable Label | Page drawing
Slot1 PLC signals
Line1 | Isovolt Hs/ Titan Control-X4 | 1-x4:1 | 1 | 0 | Line/Black | Page 13- 217127A
Line2 | Isovolt Hs/ Titan Control-X4 | 2-X4:2 | 1 | 1 | Line/Red | Page 13-217127A
Pre warning 1 | Isovolt Hs/ Titan Control-X4 | 3-X4:3 | 1 | 2 | Pre-warning1/Black | Page 13-217127A
Pre warning 2 | Isovolt Hs/ Titan Control-X4 | 4-X4:4 | 1 | 3 | Pre-warning2/Wht | Page 13-217127A
X-Ray ON | Isovolt Hs/ Titan Control-X4 | 5-X4:5 | 1 | 4 | X-Ray ON/Blk | Page 13-217127A
X-Ray ON | Isovolt Hs/ Titan Control-X4 | 6-X4:6 | 1 | 5 | X-Ray ON/Grn | Page 13-217127A
PE | Isovolt Hs/ Titan Control-X4 | 13-X4:17 | 1 | 10 | PE/Blk | Page 13-217127A
Standby | Isovolt Hs/ Titan Control-X4 | 12-X-4:12 | 1 | 12 | Standby/Blu | Page 13-217127A
Nominal Actual | Isovolt Hs/ Titan Control-X4 | 14-X4:14 | 1 | 14 | Nominal/Blk | Page 13-217127A
Fault | Isovolt Hs/ Titan Control-X4 | 15-X4:15 | 1 | 15 | Fault | Page 13-217127A
Com | Isovolt Hs/ Titan Control-X4 | 11-X4:11 |  | Com | Com
Slot2 PLC signals
Contact Door | Isovolt Hs/ Titan Control- X3 | 1-X3:1 | 2 | 0 | Contact Door TK1/Blk | Page 12-217127A
External Start | Isovolt Hs/ Titan Control- X3 | 2-X3:2 | 2 | 1 | External Start/Red | Page 12-217127A
External Stop | Isovolt Hs/ Titan Control- X3 | 3-X3:3 | 2 | 2 | External Stop/Blk | Page 12-217127A
Contact Door TK1 | Isovolt Hs/ Titan Control- X3 | 3-X3:4 | 2 | 3 | Contact Door TK1/wht | Page 12-217127A
Contact Door TK2 | Isovolt Hs/ Titan Control- X3 | 3-X3:5 | 2 | 4 | Contact Door TK2/Blk | Page 12-217127A
Emmergency Stop 1 | Isovolt Hs/ Titan Control- X3 | 3-X3:9 | 2 | 8 | Emmergency stop/Grn | Page 12-217127A
Emmergency Sop2 | Isovolt Hs/ Titan Control- X3 | 3-X3:10 | 2 | 10 | Emmergency stop2/Blk | Page 12-217127A
Shutter not Closed | Isovolt Hs/ Titan Control- X3 | 3-x:15 | 2 | 15 | Shutter Not Closed/Blu | Page 12-217127A
COM | Isovolt Hs/ Titan Control- X3 | 3-X:16 | 2 | Com |  | Page 12-217127A